City of Point, Texas

Chapter Eight

Building and Construction

Table of Contents

Chapter 8.	Building and Construction	8-3

Article 1	General	8-3

Sec. 8-1	Waivers	8-3

Sec. 8-2	Building Official; Assistants	8-3

Sec. 8-3	Inspection Fees for After Hours, Weekends and Holidays	8-3

Sec. 8-4	Copy of Codes Available for Public Inspection	8-3

Sec. 8-5	- 99 Reserved	8-3

Article 2	Definitions	8-3

Sec. 8-100	- 199 Reserved	8-3

Article 3	Building Codes	8-3

Division I	Comprehensive Building Code	8-3

Sec. 8-200	International Building Code Adopted	8-3

Sec. 8-201	Additions, Insertiions, Deletions and Changes	8-4

Division II	Residential Building Code	8-4

Sec. 8-202	International Residental Code Adopted	8-4

Sec. 8-203	Exceptions	8-4

Division III	Existing Building Code	8-4

Sec. 8-204	Code	8-4

Sec. 8-205	Exceptions	8-4

Division IV	Electrical Code	8-4

Sec. 8-206	Code	8-5

Sec. 8-207	Exceptions	8-5

Division V	Fire Code	8-5

Sec. 8-208	Code	8-5

Sec. 8-209	Exceptions	8-5

Division VI	Fuel Gas Code	8-5

Sec. 8-210	Code	8-5

Sec. 8-211	Exceptions	8-5

Division VII	Mechanical Code	8-5

Sec. 8-212	Code	8-5

Sec. 8-213	Exceptions	8-5

Division VIII	Plumbing Code	8-5

Sec. 8-214	Code	8-5

Sec. 8-215	Exceptions	8-5

Division IX	Private Sewage Disposal Code	8-5

Sec. 8-216	Code	8-5

Sec. 8-217	Exceptions	8-5

# Building and Construction

## General

#### Waivers

Waivers may be granted by the Board of Adjustments for specific provisions of the various building codes by a 4/5ths majority.  Requests for waivers must be in writing, detailing the specific provisions where waivers are desired along with justifications for these waivers.

#### Building Official; Assistants

The building official shall be the Public Works Director.  The Building Official, with the approval of the Mayor, may appoint such number of code enforcement officers, sanitarians, assistants and other employees as shall be authorized from time to time by the City Council.

#### Inspection Fees for After Hours, Weekends and Holidays

A fee for each inspection service performed after normal city business hours, or on weekends and holidays shall be charged to the person or entity requesting such inspection as provided for in the fee schedule found in Chapter 15 of this Code.

#### Copy of Codes Available for Public Inspection

A true, accurate and correct copy of said 2003 International Codes, including said appendices, be, and the same is hereby ordered and directed filed as a public document with the City Secretary where the same shall be kept and maintained in the office for inspection by anyone.

#### - 99 Reserved

## Definitions

#### - 199 Reserved

## Building Codes

### Comprehensive Building Code

#### International Building Code Adopted

The International Building Code, 2003 edition, including Appendices C through J, as published by the International Code Council, be and is hereby adopted as the Building Code of the City of Point, State of Texas for regulating and governing the conditions and maintenance of all property, buildings and structures; by providing the standards for supplied utilities and facilities and other physical thing and conditions essential to ensure that structures are safe, sanitary and fit for occupation and use; and the condemnation of building and structures unfit for human occupancy and use and the demolition of such structures as herein provided; providing for the issuance of permits and collection of fees thereof; and each and all of the regulations, provisions, penalties, conditions and terms of said Building Code on file in the office of the City of Point are hereby referred to, adopted, and made a part hereof, as if fully set out in this code, with the additions, insertions, deletions and changes, if any, prescribed in Section 8-201 of this code.

#### Additions, Insertiions, Deletions and Changes

  - Section 11-1.1. Insert: City of Point

  - Section 1612.3 Insert: City of Point

  - Section 1612.3 Insert: XXXXXXXXXXXXXXXXXX

  - Section 3410.2 Insert: July 13, 2004

  - Section 108.2, Schedule of Permit Fees, shall be as provided for in the fee schedule found in the Chapter 15 of the Code of Ordinances.

### Residential Building Code

#### International Residental Code Adopted

The International Residential Code, 2003 edition, including Appendices C through J, as published by the International Code Council, be and is hereby adopted as the Building Code of the City of Point, State of Texas for regulating and governing the conditions and maintenance of all property, buildings and structures; by providing the standards for supplied utilities and facilities and other physical thing and conditions essential to ensure that structures are safe, sanitary and fit for occupation and use; and the condemnation of building and structures unfit for human occupancy and use and the demolition of such structures as herein provided; providing for the issuance of permits and collection of fees thereof; and each and all of the regulations, provisions, penalties, conditions and terms of said Building Code on file in the office of the City of Point are hereby referred to, adopted, and made a part hereof, as if fully set out in this code, with the additions, insertions, deletions and changes, if any, prescribed in Section 8-201 of this code.

#### Exceptions

### Existing Building Code

#### Code

#### Exceptions

### Electrical Code

#### Code

#### Exceptions

### Fire Code

#### Code

#### Exceptions

### Fuel Gas Code

#### Code

#### Exceptions

### Mechanical Code

#### Code

#### Exceptions

### Plumbing Code

#### Code

#### Exceptions

### Private Sewage Disposal Code

#### Code

#### Exceptions