City of Point, Texas

Chapter Nine

Manufactured Housing, Mobile Homes, Recreational Vehicles and Parks

Table of Contents

Chapter 9.	Manufactured Housing, Mobile Homes, Recreational Vehicles & Parks	9-1

Article 1	General	9-1

Sec. 9-1	Definitions.	9-1

Sec. 9-2	Violation; penalty; additional remedy	9-1

Sec. 9-3	-  9-40 Reserved.	9-2

Article 2	Manufactured Housing and Mobile Homes	9-2

Sec. 9-41	Parking of mobile homes and travel trailers other than in mobile home parks prohibited	9-2

Sec. 9-42	Exception for existing mobile homes	9-2

Sec. 9-43	Emergency temporary use of mobile home	9-2

Sec. 9-44	Location of HUD-code manufactured homes	9-3

Sec. 9-45	Converting mobile home into permanent structure	9-3

Sec. 9-46	-  9-80 Reserved.	9-3

Article 3	Parks	9-3

Division I	General	9-3

Sec. 9-81	Definitions	9-3

Sec. 9-82	Location	9-4

Sec. 9-83	Drainage of site	9-4

Sec. 9-84	Minimum dimensions of spaces	9-4

Sec. 9-85	Proximity of mobile homes to other mobile homes, property lines, buildings; lot coverage	9-4

Sec. 9-86	Driveways required	9-4

Sec. 9-87	Walkways required	9-4

Sec. 9-88	Materials; illumination of driveways; walkways	9-5

Sec. 9-89	Water supply	9-5

Sec. 9-90	Sewage; waste disposal	9-5

Sec. 9-91	Fire protection	9-5

Sec. 9-92	Sanitation facilities in parks allowing temporary overnight parking	9-5

Sec. 9-93	Register of occupants	9-6

Sec. 9-94	Supervision	9-7

Sec. 9-95	-  9-120 Reserved.	9-7

Division II	License	9-7

Sec. 9-121	Required	9-7

Sec. 9-122	Application	9-7

Sec. 9-123	Approval and issuance	9-8

Sec. 9-124	Fee	9-8

Sec. 9-125	Posting	9-8

Sec. 9-126	Revocation	9-8

ARTICLE 4	RECREATIONAL VEHILCES                                                                                                                                   9-8

Sec. 9-201	      Definitions                                                                                                                                                              9-8

Sec. 9-202	      Site Requirements                                                                                                                                                   9-9

Sec. 9-203	      Recreational vehicles outside of designated recreational vehicle parks                                                                 9-9

Sec. 9-204           Location of recreational vehicles on public right-of-way                                                                                    9-10

# Manufactured Housing, Mobile Homes, Recreational Vehicles & Parks

## General

#### Definitions.

The following words, terms and phrases, when used in this chapter, shall have the meanings ascribed to them in this section, except where the context clearly indicates a different meaning:

HUD-code manufactured home means a structure, constructed on or after June 15, 1976, according to the rules of the United States Department of Housing and Urban Development, transportable in one or more sections, which, in the traveling mode, is eight body feet or more in width or 40 body feet or more in length, or, when erected on site, is 320 or more square feet, and which is built on a permanent chassis and designed to be used as a dwelling with or without a permanent foundation when connected to the required utilities, and includes the plumbing, heating, air conditioning, and electrical systems. The term does not include a recreational vehicle as that term is defined by 24 CFR 3282.8(g).

Manufactured housing or manufactured home means a HUD-code manufactured home or a mobile home and collectively means and refers to both.

Mobile home means a structure that was constructed before June 15, 1976, transportable in one or more sections, which, in the traveling mode, is eight body feet or more in width or 40 body feet or more in length, or, when erected on site, is 320 or more square feet, and which is built on a permanent chassis and designed to be used as a dwelling with or without a permanent foundation when connected to the required utilities, and includes the plumbing, heating, air conditioning, and electrical systems.

Travel trailer means a portable vehicle built on a chassis and designed as a temporary dwelling for travel, recreation and vacation use and which has been permanently identified by the manufacturer, when such a vehicle has been equipped by the manufacturer for use on public streets and highways. The term "travel trailer" shall also be deemed to include all other portable contrivances other than mobile homes used or intended to be used generally for living and sleeping quarters and which may be moved under its own power, towed, or transported by another vehicle.

(Ordinance 110, 2003, § 1)

Cross references: Definitions generally, Sec.1-2.

State law references: Definition of mobile home, HUD-manufactured home and manufactured housing, Vernon's Ann. Civ. St. art. 5221f, § 3.

#### Violation; penalty; additional remedy

A person who violates this chapter is guilty of a separate offense for each day or portion of a day on which the violation is committed, and each offense is punishable as provided in section 1-14. A person violating any provision of this chapter may be enjoined by a suit filed by the city in a court of competent jurisdiction, and this remedy is in addition to any other penalty provision.

(Ordinance 110, 2003, § 2)

#### -  9-40 Reserved.

## Manufactured Housing and Mobile Homes

#### Parking of mobile homes and travel trailers other than in mobile home parks prohibited

Parking of mobile homes and travel trailers, including, but not limited to, camper buses, motor homes and camper trailers, for use as a permanent or temporary dwelling, outside of a mobile home park shall be prohibited.

(Ordinance 110, 2003, § 3)

#### Exception for existing mobile homes

Mobile homes installed prior to May 13, 2003, and in compliance with the ordinances of the city may remain in place and continue to be used or occupied. Exchange, replacement, alteration, relocation or additions to mobile homes within the city is hereby prohibited, unless such move, replacement, alteration, relocation, or addition is to or in a licensed mobile home park.

(Ordinance 110, 2003, § 4)

#### Emergency temporary use of mobile home

The city council, by a majority vote of its five members, may grant to individuals the temporary use of mobile homes and travel trailers in the event of an emergency. An emergency shall only be loss of a permanent dwelling due to fire, flood or any other natural disaster. If any such application for emergency temporary use of the mobile homes and travel trailers is granted by the city council, no such temporary use shall begin until:

(1)     A permit fee, to be established by the city council, is paid by the applicant.

(2)     A determination of the period of time such emergency use may continue, but in no event shall such period exceed 30 days. However, each applicant may have his emergency permit extended for an additional 30-day period. No permit shall be extended, or renewed, more than five times. All such extensions shall require a majority vote of the five-member city council.

(3)     The city council shall only grant an emergency permit for the express purpose of occupying a mobile home or travel trailer as a dwelling, only while repairing, remodeling, or replacing a permanent dwelling.

(4)     Any such emergency permit granted shall require the applicant to locate his temporary mobile home or travel trailer upon the same lot, or parcel of real estate, as the permanent dwelling that is being repaired, remodeled or replaced.

(Ordinance 110, 2003, § 5)

#### Location of HUD-code manufactured homes

HUD-code manufactured homes shall be permitted only in mobile home parks and in districts defined as including the allowance of HUD code Manufactured homes in Chapter 10 of this Code.

(Ordinance 110, 2003, § 6)

#### Converting mobile home into permanent structure

Removal of wheels of a mobile home, except temporarily for repair, or the permanent blocking up of the mobile home, or the closing up of the space beneath the mobile home shall be construed to automatically convert the mobile home into a permanent structure subject to the requirements of the building code, housing laws, and all other laws applicable to dwellings. Notice of such removal of wheels, blocking up, or enclosure shall be given forthwith to the person designated by the mayor.

(Ordinance 110, 2003, § 7)

#### -  9-80 Reserved.

## Parks

### General

#### Definitions

The following words, terms and phrases, when used in this article, shall have the meanings ascribed to them in this section, except where the context clearly indicates a different meaning:

Dependent mobile home means a mobile home which does not have a flush toilet and a bath or shower or is not capable of being connected to city water and sewage systems.

Independent mobile home means a mobile home which is capable of being connected to city water and sewage systems and has a flush toilet and a bath or shower.

Mobile home means any vehicle or similar portable structure having no foundation other than wheels, jacks or skirtings and so designed or constructed as to permit occupancy for dwelling or sleeping purposes.

Mobile home park means any plot of ground upon which ten or more mobile homes, occupied for dwelling or sleeping purposes, are located, regardless of whether or not a charge is made for such accommodation.

Natural or artificial barrier means any river, pond, canal, railroad, fence, or hedge which prohibits a view from the outside of the mobile home park.

Park means a mobile home park.

(Ordinance 110, 2003, § 8)

Cross references: Definitions generally, Sec 1-2.

#### Location

Mobile home parks may be located in districts defined as including the allowance of mobile home parks in Chapter 10 of this Code. Each boundary of the park must be at least 500 feet from any permanent residential building located outside the park unless separated there from by a natural or artificial barrier or unless a majority of the property owners according to area within 500 feet and all the adjacent property owners consent in writing to the establishment of the park, except that any mobile home park in existence on May 13, 2003, may be allowed to continue in operation and may be expanded even though existing residential buildings are within 500 feet of the present development or future developments. However, such enlargements or expansions shall not extend closer than 300 feet to any existing residential building. Under such exceptions the extension of any such existing mobile home park shall comply with all other requirements of this article.

(Ordinance 110, 2003, § 9)

#### Drainage of site

Each mobile home park shall be located on a well drained site, properly graded to ensure rapid drainage and freedom from stagnant pools of water.

(Ordinance 110, 2003, § 10)

#### Minimum dimensions of spaces

Mobile home spaces in each mobile home park shall be provided, consisting of a minimum of 1,500 square feet for each space which shall be at least 30 feet wide and clearly defined.

(Ordinance 110, 2003, § 11)

#### Proximity of mobile homes to other mobile homes, property lines, buildings; lot coverage

Mobile homes shall be so harbored on each space within a mobile home park that there shall be at least a 15-foot clearance between mobile homes; provided, however, that no mobile home shall be closer than five feet to a side or rear line of the space on which the mobile home is located. No mobile home shall be placed on a space if such mobile home when occupied will cover more than 20 percent of the area of the space. No mobile home shall be located closer than 20 feet from any building within the park or from any side or rear property line bounding the park, nor closer than 25 feet from the front property line of the mobile home park or 20 feet of the front line of a mobile home space.

(Ordinance 110, 2003, § 12)

#### Driveways required

All mobile homes within a mobile home park shall abut upon a driveway of not less than 25 feet in width, which shall have unobstructed access to a public street or highway. Entrances and exits to a public street or highway must meet approval of the city engineer or person designated by the mayor.

(Ordinance 110, 2003, § 13)

#### Walkways required

Walkways not less than two feet wide shall be provided from the mobile home spaces to the service buildings within each mobile home park.

(Ordinance 110, 2003, § 14)

#### Materials; illumination of driveways; walkways

All driveways and walkways within each mobile home park shall be hard-surfaced, well-marked in the daytime and lighted at night with electric lamps of not less than 25 watts each, spaced at intervals of 50 feet located approximately 15 feet from the ground. Mercury vapor lights may be installed in lieu of these 25 watt bulbs, provided that they are installed no less than 100 feet apart and at a height of no less than 35 feet.

(Ordinance 110, 2003, § 15)

#### Water supply

An adequate supply of pure water for drinking and domestic purposes shall be supplied to meet the requirements of the park. An adequate supply of hot water shall be provided at all times in the service buildings for all bathing, washing, cleansing and laundry facilities.

(Ordinance 110, 2003, § 16)

#### Sewage; waste disposal

(a)     Waste from showers, bathtubs, flush toilets, urinals, lavatories, slop sinks and laundries in service and other buildings within each mobile home park shall be discharged into a public sewage system in compliance with applicable provisions of this Code or into a private sewage disposal plant or septic tank system of such construction and in such manner as will present no health hazard.

(b)     Each mobile home space shall be provided with a trapped sewer at least four inches in diameter, which shall be connected to receive the waste from the shower, bathtub, flush toilet, lavatory and kitchen sink of the mobile home harbored in such space and having any or all of such facilities. The trapped sewer in each space shall be connected to discharge the mobile home waste into a public sewage system in compliance with applicable provisions of this Code or into a private sewer disposal plant or septic tank system of such construction and in such manner as will present no health hazard.

(Ordinance 110, 2003, § 17)

#### Fire protection

Every mobile home park shall be equipped at all times with one fire extinguisher in good working order for every ten mobile homes located not farther than 200 feet from each mobile home space. No open fires shall be permitted except as permitted by the fire marshal. No fires shall be left unattended at any time.

(Ordinance 110, 2003, § 18)

#### Sanitation facilities in parks allowing temporary overnight parking

(a)     Each park that allows temporary overnight parking shall be provided with toilets, baths or showers, slop sinks and other sanitation facilities which shall conform to the following requirements:

(1)     The toilet and other sanitation facilities for males and females shall either be in separate buildings or shall be separated, if in the same building, by a soundproof wall.

(2)     Toilet facilities for males shall consist of not less than one flush toilet and one urinal for every 15 dependent mobile homes, one shower or bathtub with individual dressing accommodations for every ten dependent mobile homes and one lavatory for every ten dependent mobile homes.

(3)     Toilet facilities for females shall consist of not less than one flush toilet for every ten dependent mobile homes, one shower or bathtub with individual dressing accommodations for every ten dependent mobile homes, and one lavatory for every ten dependent mobile homes.

(4)     Anything in subsections (2) and (3) of this section to the contrary notwithstanding, each mobile home park shall provide for each sex not less than two flush toilets, two showers or bathtubs with individual dressing accommodations and two lavatories, and, in addition thereto, for males, not less than two urinals.

(5)     Each toilet and each shower or bathtub with individual dressing accommodation for which provision is made in subsections (2), (3) and (4) of this section shall be in a private compartment.

(6)     There shall be provided in a separate compartment for each sex not less than one flush toilet receptacle for emptying bedpans or other containers of human excreta and not less than one slop sink or other like facility with an adequate supply of hot running water for cleansing such bedpans or containers.

(7)     Service buildings housing the toilet facilities shall be permanent structures complying with all applicable laws and statutes regulating buildings, electrical installations and plumbing and sanitation systems.

(8)     Service buildings housing toilet facilities shall be located not closer than ten feet nor farther than 200 feet from any mobile home.

(9)     The service buildings shall be well lighted at all times of the day and night, shall be well ventilated with screened openings, shall be constructed of such moistureproof material, including painted woodwork, as shall permit repeated cleaning and washing, and shall be maintained at a temperature of at least 68 degrees Fahrenheit during the period from October 1 to May 1. The floors of the service buildings shall be of water impervious material.

(10)     All service buildings and the grounds of the park shall be maintained in a clean, sightly condition and kept free of any condition that will menace the health of any occupant or the public or constitute a nuisance.

(b)     Each park shall provide service buildings to house toilet facilities, bathing facilities, laundry facilities and other sanitary facilities as more particularly described in this subsection (a) of this section.

(Ordinance 110, 2003, § 19)

#### Register of occupants

(a)     It shall be the duty of each licensee under the provisions of this article to keep a register containing a record of all mobile homeowners and occupants located within the mobile home park. The register shall contain the following information:

(1)     The name and address of each mobile home occupant.

(2)     The license number and owner of each mobile home and automobile by which it is towed.

(3)     The make, model and year of all automobiles and mobile homes.

(4)     The state issuing such license.

(5)     The date of arrival and of departure of each mobile home.

(6)     Whether or not each mobile home is a dependent or independent mobile home.

(b)     The park shall keep the register available for inspection at all times by law enforcement officers, public health officials and other officials whose duties necessitate acquisition of the information contained in the register. The register records shall not be destroyed for a period of three years following the date of registration.

(Ordinance 110, 2003, § 20)

#### Supervision

A responsible attendant or caretaker, owner or operator shall be in charge of a park at all times to keep the mobile home park, its facilities and equipment in a clean, orderly and sanitary condition, and he shall be answerable, with the licensee, for any violation of the provisions of this article.

(Ordinance 110, 2003, § 21)

#### -  9-120 Reserved.

### License

#### Required

It shall be unlawful for any person to maintain or operate a mobile home park within the limits of the city unless such person shall first obtain a license therefor.

(Ordinance 110, 2003, § 22)

#### Application

Application for a mobile home park license shall be filed with the person designated by the mayor. The application and all accompanying plans and specifications shall be filed in triplicate. The application shall be in writing, signed by the applicant and shall include the following:

(1)     The name and address of the applicant.

(2)     The location and legal description of the mobile home park.

(3)     A complete plan of the park showing compliance with the requirements of this article.

(4)     Plans and specifications of all buildings and other improvements constructed or to be constructed within the mobile home park.

(5)     Such further information as may be required by the person designated by the mayor to enable him to determine if the proposed park will comply with legal requirements.

(Ordinance 110, 2003, § 23)

#### Approval and issuance

If the proposed mobile home park complies with all provisions of this article and all other applicable laws or statutes, then, upon approval by the persons designated by the mayor the application shall be approved, and upon completion of the park according to the plans and specifications, the person designated by the mayor shall issue the license.

(Ordinance 110, 2003, § 24)

#### Fee

The annual license fee for each mobile home park shall be established by the city council by resolution and kept on file in the city secretary's office.

(Ordinance 110, 2003, § 25)

#### Posting

The license certificate issued under the provisions of this article shall be conspicuously posted in the office of or on the premises of the mobile home park at all times.

(Ordinance 110, 2003, § 26)

#### Revocation

The license to maintain and operate a mobile home park may be revoked upon ten days' notice and hearing before the city council when the licensee has been found guilty by a court of competent jurisdiction of violating any provision of this article. After such conviction, the license may be reissued if the circumstances leading to conviction have been remedied and the park is being maintained and operated in full compliance with the law.

(Ordinance 110, 2003, § 27)

#### – 200 RESERVED

## RECREATIONAL VEHICLES

#### DEFINITIONS

The following words and phrases, when used in this article, shall have the meanings respectively ascribed to them in this section:

Recreational vehicle, as used in this article, shall mean any of the following:

Travel trailer- means a vehicular, portable structure built on a chassis, designed to be used as a temporary dwelling for travel, recreational and vacation uses, or permanently identified travel trailer by the manufacturer of the trailer and, factory equipped for the road, it shall have a body width not exceeding eight feet and a body length not exceeding state maximum.

Pick-up coach- means a structure designed to be mounted on a truck chassis for use as a temporary dwelling for travel, recreation, and vacation. The pick-up coach shall remain on the truck chassis at all times, except for any repair or maintenance work which necessitates the pick-up coach being removed from the truck chassis, in which case such repair or maintenance work shall be completed within two days or removal.

Motor home- means a portable, temporary dwelling to be used for travel, recreation, and vacation, constructed as an integral part of a self- propelled vehicle.

Dependent trailer- means a trailer which is dependent upon a service building for toilet and lavatory facilities.

Self-contained trailer- means a trailer which can operate independent of connection to sewer, water, and electric systems. It contains water-flushed toilet, lavatory, shower, and kitchen sink, all of which are connected to water storage and sewage holding tanks located within the trailer.

(OCT, 2023)

#### SITE REQUIREMENTS

1.	There shall be no more than one recreational vehicle located on any lot located in the corporate limits of the City of Point.

2.	Recreational vehicles shall be located at least 20 feet from any street or roadway fronting the lot and shall contain a rear setback of not less than ten feet from the rear line of said lot.

3.	A recreational vehicle shall, at all times, be on wheels and must further be capable of being legally towed upon the public streets and highways of the state by a passenger car or truck or be self-propelled.

(OCT, 2023)

#### RECREATIONAL VEHICLES OUTSIDE OF DESIGNATED RECREATIONAL VEHILCE PARKS

- A person may not stay, reside, occupy or connect to utilities a recreational vehicle on private property, unless such person has obtained a permit.

- A person may place a recreational vehicle on private property if a building permit has been issued by the City of Point for construction on the property. The recreational vehicle must be removed when construction is completed, or the building permit expires. Construction must begin on the property within one week or be in progress when placing recreational vehicle on property.

- A resident who owns a recreational vehicle may park at their residence for parking purposes only and the recreational vehicle shall at no time be used as a dwelling.

- No person shall hook up a recreational vehicle permanently to electric lights, water, septic systems, telephone, or place a receptacle for receiving mail or any other service or device which could be considered permanent installation of a recreational vehicle.

- Any recreational vehicle shall, at all times, be on wheels and must further be capable of being legally towed upon the public streets and highways of the state by a passenger car or truck.

- Property owners are responsible for recreational vehicles placed on their property regardless of the ownership of the recreational vehicle.

(OCT, 2023)

#### location of recreational vehilces on public right-of-way.

No person shall park, place, or locate a recreational vehicle on any public street or right-of-way for a period in excess of 24 hours in any one calendar week, and only then if such recreational vehicle does not obstruct traffic on such street or right-of-way. Any violators are subject to fine and or tow at owner’s expense.

(OCT, 2023)